## Final
Type | The code | element | Unity | Quantity | comments
Lines | 100000 | ABC 2*25 power cable | meter | 2784 | Case 5
Other | 100001 | 75 watt bulb | number | 2400 | Case 7
Other | 100002 | 100 watt bulb | number | 1000 | Case 7
Materials | 100003 | nyy copper cable 3*2.5mm | roll | 300 | Case 2
Materials | 100004 | lighter | number | 255 | Case 2
Materials | 100005 | Large feed cleats | number | 225 | Case 2
Materials | 100006 | 3*2.5mm2 white copper cable | meter | 200 | Case 2
Other | 100007 | 1.5*5mm cable | meter | 188 | Case 7
Materials | 100008 | 150W sodium lamp | number | 143 | Case 2
Materials | 100009 | Flora 125W bulb | number | 133 | Case 2
Danger | 100010 | Iron lighting pole covers | number | 130 | Case 6
Other | 100011 | Cable head in different sizes | number | 130 | Case 7
Materials | 100012 | 125W sodium transistor | number | 120 | Case 2
Materials | 100013 | 5*10mm cable type N2XY | meter | 100 | Case 4
Other | 100014 | Solid plastic drains 4*6 cm - 3.5*3.5 cm | linear meter | 100 | Case 7
Materials | 100015 | 150W sodium transistor | number | 100 | Case 2
Materials | 100016 | 3*6mm cable type N2XY | meter | 100 | Case 4
Materials | 100017 | large medicine | number | 90 | Case 2
Materials | 100018 | Flora medicine small size | number | 90 | Case 2
Materials | 100019 | 250W spotlight transformer | number | 85 | Case 2
Materials | 100020 | 250W sodium lamp | number | 84 | Case 2
Materials | 100021 | Section A 32 Vaso and Nole | number | 70 | Case 4
Materials | 100022 | 63 phase breaker and loom | number | 69 | Case 4
Other | 100023 | Plastic drains 4 cm * 6 cm | meter | 50 | Case 7
Materials | 100024 | Contactor 3*63 Amp 220V | number | 48 | Case 4
Materials | 100025 | Plastic sewer, 4*6 cm | meter | 40 | Case 7
Other | 100026 | traffic light | number | 36 | Case 7
Materials | 100027 | 5*25mm cable type N2XY | meter | 31 | Case 4
Materials | 100028 | 3*40 Amp Contactor | number | 30 | Case 4
Lines | 100029 | wooden pole hook | number | 28 | Case 5
Other | 100030 | Plastic drains 6*12 cm | meter | 28 | Case 7
Materials | 100031 | 1*10 Ampere breaker | number | 28 | Case 4
Materials | 100032 | 3 phase breaker 32 amps | number | 25 | Case 4
Materials | 100033 | Licensed arm 2 | number | 25 | Case 2
Materials | 100034 | Residential 3*100 Amp NZM | number | 25 | Case 4
Materials | 100035 | 3 phase breaker 63 amp capacity | number | 25 | Case 4
Other | 100036 | Profile 8/8, 3 mm thick | number | 23 | Case 7
Materials | 100037 | 3*100 Amp Contactor | number | 21 | Case 4
Other | 100038 | 4*95 power cable | meter | 20 | Case 7
Materials | 100039 | 6 amp photocell | number | 20 | Case 4
Materials | 100040 | ABC1*100A breaker | number | 20 | Case 4
Materials | 100041 | LED bulb (18 watts) | number | 20 | Case 7
Other | 100042 | red lens left arrow | number | 16 | Case 7
Materials | 100043 | 16 amp hour | number | 15 | Case 4
Lines | 100044 | used iron lamppost | number | 12 | Case 5
Other | 100045 | binary symbols | number | 12 | Case 7
Lines | 100046 | 25*4 Tensioner + Plastic | number | 11 | Case 5
Other | 100047 | Philips 2000W sodium lamp | number | 10 | Case 7
Other | 100048 | 220 volt second timer | number | 10 | Case 7
Materials | 100049 | 3*63 Amp Electric Knife | number | 10 | Case 4
Materials | 100050 | Automatic flip switch + manual 1-0-2-3 | number | 10 | Case 4
Other | 100051 | 24/220V 11-Pin Relay | number | 10 | Case 7
Other | 100052 | Philips 2000W sodium transformer | number | 10 | Case 7
Materials | 100053 | Copper Bridge | linear meter | 10 | Case 4
Other | 100054 | Electric water sensors | number | 8 | Case 7
Other | 100055 | Symbol columns | number | 8 | Case 7
Other | 100056 | red lens | number | 8 | Case 7
Other | 100057 | yellow lens | number | 8 | Case 7
Other | 100058 | Triple symbol | number | 8 | Case 7
Other | 100059 | green lens | number | 8 | Case 7
Materials | 100060 | Key 1.0.2 | number | 6 | Case 4
Other | 100061 | 24/220V 5A isolation transformer | number | 5 | Case 7
Other | 100062 | 24/380V 5A isolation transformer | number | 5 | Case 7
Other | 100063 | Nutrition board | number | 5 | Case 7
Other | 100064 | Plastic electrical panel 40*25*15 cm | number | 5 | Case 7
Materials | 100065 | Electrical panel 40*60*20 cm fiber glass IP68 | number | 5 | Case 4
Materials | 100066 | Iskra Meter 40-10 Amp Phase and Loop - Used | number | 4 | Case 4
Other | 100067 | Small symbol column | number | 4 | Case 7
Flashlight | 100068 | New 250W sodium spotlight | number | 4 | Case 1
Panel | 100069 | Installation of a complete lighting control panel - new | number | 4 | Case 3
Other | 100070 | Single symbols | number | 4 | Case 7
Other | 100071 | Sheet metal screws of different lengths | can | 4 | Case 7
Equipment | 100072 | 25m electric cable | number | 3 | Case 2
Lines | 100073 | 4*50mm ABC cable | meter | 3 | Case 5
Other | 100074 | 200 amp knife fuse | number | 3 | Case 7
Other | 100075 | 20A Phase and Loom Circuit Breaker | number | 2 | Case 7
Other | 100076 | 2 inch French key | number | 2 | Case 7
Materials | 100077 | 2.5 mm power cord | roll | 2 | Case 2
Equipment | 100078 | climbing belt | number | 2 | Case 2
Equipment | 100079 | Iron palm tree | number | 2 | Case 2
Equipment | 100080 | Iron climbing nets | number | 2 | Case 2
Other | 100081 | Water pump control panel | number | 2 | Case 7
Equipment | 100082 | 7-piece electrical insulating screwdriver set | number | 2 | Case 2
Equipment | 100083 | LNK 9-piece nut set | number | 2 | Case 2
Lines | 100084 | iron column base | number | 2 | Case 5
Materials | 100085 | Section 6 A Vaso and Nole | number | 2 | Case 4
Other | 100086 | CPU card | number | 2 | Case 7
Other | 100087 | manual key | number | 2 | Case 7
Other | 100088 | Transit unit | number | 2 | Case 7
Materials | 100089 | charger watch | number | 2 | Case 4
Materials | 100090 | Section 25 A Vaso and Nole | number | 2 | Case 4
Materials | 100091 | control box | number | 2 | Case 4
Materials | 100092 | NZM80 Amp Mueller Anion Skate - Used | number | 1 | Case 4
Other | 100093 | Prepaid Meter - Used | number | 1 | Case 7
Other | 100094 | Current Transformer CT200/5 amp | number | 1 | Case 7
Equipment | 100095 | Screwdriver drill | number | 1 | Case 2
Materials | 100096 | 1.5 mm power cord | roll | 1 | Case 2
Other | 100097 | NZM250 Ampere Mullerton Knife - Used | number | 1 | Case 7
Other | 100098 | 1.5*16mm cable | roll | 1 | Case 7
Other | 100099 | Transformer 230/24-12-volt | number | 1 | Case 7
Equipment | 100100 | Small size disc | number | 1 | Case 2
Other | 100101 | Sound system (mall specific) | number | 1 | Case 7
Equipment | 100102 | Clip Ampere Test Hour | number | 1 | Case 2
Other | 100103 | 1.5*24mm cable | roll | 1 | Case 7
Other | 100104 | keyboard | number | 1 | Case 7
Equipment | 100105 | Electrically insulating plastic gloves | number | 1 | Case 2
Equipment | 100106 | aluminum ladder | number | 1 | Case 2
Equipment | 100107 | non-flammable clothing | number | 1 | Case 2
Lines | 100108 | ABC cable bite | number | 1 | Case 5
Materials | 100109 | Used Siemens 3-phase meter | number | 1 | Case 2
Equipment | 100110 | Box set | number | 1 | Case 2
Equipment | 100111 | Hydraulic cable end press | number | 1 | Case 2
Equipment | 100112 | Ring split set | number | 1 | Case 2
Other | 100113 | 1000W Soldering Iron | number | 1 | Case 7
Equipment | 100114 | screwdriver tester | number | 1 | Case 2
Other | 100115 | 12-pole toggle switch | number | 1 | Case 7
Lines | 100116 | Tightening machine | number | 1 | Case 5
Other | 100117 | Logo cable head | number | 0 | Case 7
Other | 100118 | 3 phase card meter | number | 0 | Case 7
Other | 100119 | wood screw | number | 0 | Case 7
Other | 100120 | White spherical club, 30 cm diameter | number | 0 | Case 7
Other | 100121 | Remote battery | number | 0 | Case 7
Other | 100122 | toothed screw | number | 0 | Case 7
Other | 100123 | UPS SL2000 VA Zero Time ups | number | 0 | Case 7
Other | 100124 | Card counter | number | 0 | Case 7
Other | 100125 | 20W Color LED Bulb | number | 0 | Case 7
Other | 100126 | 3 phase busbar, 160 amp | number | 0 | Case 7
Flashlight | 100127 | New 150W sodium spotlight | number | 0 | Case 1
Other | 100128 | 150 Amp LS Contactor File | number | 0 | Case 7
Equipment | 100129 | Electrically insulating summer clothing | number | 0 | Case 2
Other | 100130 | 5-line cable | meter | 0 | Case 7
Other | 100131 | loom | number | 0 | Case 7
Other | 100132 | External double switch | number | 0 | Case 7
Lines | 100133 | Cable Tightening Bit 13mm to 12mm | number | 0 | Case 5
Other | 100134 | Blue cable tensioning machine | number | 0 | Case 7
Other | 100135 | large speakers | number | 0 | Case 7
Equipment | 100136 | Kester DM (Lock) | set | 0 | Case 2
Equipment | 100137 | electrical insulating shoes | number | 0 | Case 2
Equipment | 100138 | electrically insulating winter clothing | number | 0 | Case 2
Other | 100139 | Receiver cable | meter | 0 | Case 7
Equipment | 100140 | Concrete hammer drill bit | number | 0 | Case 2
Equipment | 100141 | Low pressure kester | number | 0 | Case 2
Other | 100142 | battery charger drill | number | 0 | Case 7
Materials | 100143 | Galvanized iron electrical panel | number | 0 | Case 4
Other | 100144 | plastic drains | number | 0 | Case 7
Materials | 100145 | 3*1.5 mm rubber wire | meter | 0 | Case 2
Other | 100146 | Central eye 4 exits | number | 0 | Case 7
Other | 100147 | LED bulb | number | 0 | Case 7
Other | 100148 | 32-inch LG screen | number | 0 | Case 7
Other | 100149 | 2 Amp Single Phase Circuit Breaker | number | 0 | Case 7
Materials | 100150 | 100 Amp Himmel Contactor | number | 0 | Case 4
Other | 100151 | small dish antenna | number | 0 | Case 7
Other | 100152 | Vaz and Nol card counter | number | 0 | Case 7
Other | 100153 | Undervolt relay | number | 0 | Case 7
Other | 100154 | LED spotlight | number | 0 | Case 7
Other | 100155 | Elevator encoder | number | 0 | Case 7
Other | 100156 | Electronic clipper | number | 0 | Case 7
Materials | 100157 | White cable 3*2.5mm | roll | 0 | Case 2
Materials | 100158 | White cable 3*1.5mm | roll | 0 | Case 2
Other | 100159 | 15W LED Club Bulb | number | 0 | Case 7
Other | 100160 | Electric tipper | number | 0 | Case 7
Other | 100161 | Circular club | number | 0 | Case 7
Other | 100162 | Electric dashboard switch | number | 0 | Case 7
Materials | 100163 | 400W sodium lamp | number | 0 | Case 2
Other | 100164 | Electric elevator switch | number | 0 | Case 7
Materials | 100165 | thermal insulator | number | 0 | Case 4
Other | 100166 | Drawer knob | number | 0 | Case 7
Other | 100167 | drawer timer | number | 0 | Case 7
Other | 100168 | LED strip lighting | number | 0 | Case 7
Materials | 100169 | 4X10 power cable | linear meter | 0 | Case 4
Materials | 100170 | 4X16 power cable | linear meter | 0 | Case 4
Other | 100171 | LED spotlight chip | number | 0 | Case 7
Other | 100172 | Maryum pipe clamp | number | 0 | Case 7
Other | 100173 | digital electricity meter | number | 0 | Case 7
Other | 100174 | electrical collector box cover | number | 0 | Case 7
Flashlight | 100175 | New 100W LED spotlight | number | 0 | Case 1
Other | 100176 | Plastic meter dashboard | number | 0 | Case 7
Materials | 100177 | copper electrode | number | 0 | Case 4
Other | 100178 | 20cm waterproof plastic box | number | 0 | Case 7
Other | 100179 | Electric clip | can | 0 | Case 7
Flashlight | 100180 | New 50W LED spotlight | number | 0 | Case 1
Other | 100181 | Electric spot | number | 0 | Case 7
Other | 100182 | Aman Hayat | number | 0 | Case 7
Other | 100183 | Overload | number | 0 | Case 7
Other | 100184 | Maryum pipe with clamps | number | 0 | Case 7
Other | 100185 | Automatic water pump | number | 0 | Case 7
Other | 100186 | Plastic electrical collection box | number | 0 | Case 7
Lines | 100187 | Electric spiral barb | meter | 0 | Case 5
Other | 100188 | plastic dashboard | number | 0 | Case 7
Other | 100189 | T Golani 3/4 | number | 0 | Case 7
Other | 100190 | 3/4 inch connector | number | 0 | Case 7
Materials | 100191 | 250W sodium transistor | number | 0 | Case 2
Materials | 100192 | 100 Amp 3-pole electric knife | number | 0 | Case 4
Other | 100193 | laser elbow | number | 0 | Case 7
Other | 100194 | Maryum pipe elbow | number | 0 | Case 7
Other | 100195 | electric switch | number | 0 | Case 7
Other | 100196 | electric pressure gauge | number | 0 | Case 7
Other | 100197 | telephone wire | meter | 0 | Case 7
Other | 100198 | 6-eye electric triangle | number | 0 | Case 7
Other | 100199 | 5-eye electric triangle | number | 0 | Case 7
Other | 100200 | 4-eye electrical triangle | number | 0 | Case 7
Other | 100201 | 3-eye electrical triangle | number | 0 | Case 7
Lines | 100202 | 1*25mm ABC cable | meter | 0 | Case 5
Lines | 100203 | used electricity pole | number | 0 | Case 5
Materials | 100204 | 3 phase knife used | number | 0 | Case 4
Materials | 100205 | 3 phase 25 amp breaker | number | 0 | Case 4
Other | 100206 | Aman Hayat 3 phase used | number | 0 | Case 7
Materials | 100207 | 5*16 green cable | meter | 0 | Case 4
Materials | 100208 | Section 16 A Vaso and Nole | number | 0 | Case 4
Materials | 100209 | 32 Amp Single Phase Circuit Breaker | number | 0 | Case 4
Materials | 100210 | 3 phase breaker 6 amp capacity | number | 0 | Case 4
Materials | 100211 | 3 phase breaker 40 amps | number | 0 | Case 4
Lines | 100212 | electrical outlet | number | 0 | Case 5
Other | 100213 | 220V 11-leg relay | number | 0 | Case 7
Other | 100214 | 5m telephone cable | number | 0 | Case 7
Other | 100215 | 4m power extension with plug | number | 0 | Case 7
Other | 100216 | Sheet metal screws | number | 0 | Case 7
Other | 100217 | ceiling fan base | number | 0 | Case 7
Other | 100218 | 10 mm iron radish | number | 0 | Case 7
Materials | 100219 | 2*6mm green cable | meter | 0 | Case 4
Materials | 100220 | 4*6 mm green cable | meter | 0 | Case 4
Other | 100221 | Contactor complement | number | 0 | Case 7
Other | 100222 | 6+4 cm sawn sewer | meter | 0 | Case 7
Materials | 100223 | Iron bridge for goods | meter | 0 | Case 4
Other | 100224 | Each drum is 16 mm | number | 0 | Case 7
Equipment | 100225 | iron cutting stone | number | 0 | Case 2
Materials | 100226 | 1.5mm logo wire roll | number | 0 | Case 2
Other | 100227 | Large signal lamp | number | 0 | Case 7
Materials | 100228 | Galvanized iron dashboard, size 60*40 | number | 0 | Case 4
Other | 100229 | used busbar | number | 0 | Case 7
Other | 100230 | 5*4 used power cable | meter | 0 | Case 7
Lines | 100231 | ABC1*2.5mm2 cable | roll | 0 | Case 5
Materials | 100232 | Used galvanized iron electrical panel | number | 0 | Case 4
Materials | 100233 | Used 3-phase Iskra meter | number | 0 | Case 4
Other | 100234 | Used 15kV capacitor unit | number | 0 | Case 7
Other | 100235 | Undervolt red used | number | 0 | Case 7
Materials | 100236 | Residential rank 3 phase 3*63 amp used | number | 0 | Case 4
Materials | 100237 | Used 3 phase 3*63 amp breaker | number | 0 | Case 4
Other | 100238 | Aman Hayat 4*63/3 (mAh) Used | number | 0 | Case 7
Other | 100239 | Used 3-phase 3*32 miniature breaker | number | 0 | Case 7
Other | 100240 | used signal lights | number | 0 | Case 7
Other | 100241 | used volt hour | number | 0 | Case 7
Other | 100242 | 102 used residential dump truck | number | 0 | Case 7
Other | 100243 | I need a used 3 phase | number | 0 | Case 7
Materials | 100244 | 2-line cable 1.5mm2 | roll | 0 | Case 2
Materials | 100245 | 6*5mm2 cable "meter" 100 | roll | 0 | Case 4
Other | 100246 | Used LS200 4-pin contactor | number | 0 | Case 7
Materials | 100247 | 3*100A breaker | number | 0 | Case 4
Materials | 100248 | single arm | number | 0 | Case 2
Materials | 100249 | 2.5*3 cable | meter | 0 | Case 2
Materials | 100250 | Feeding brackets | number | 0 | Case 2
Materials | 100251 | 10A photocell | number | 0 | Case 4
Materials | 100252 | 3 phase contactor | number | 0 | Case 4
Materials | 100253 | Sakina | number | 0 | Case 4
Lines | 100254 | snail proboscis 3 | meter | 0 | Case 5
Lines | 100255 | 25*4 suspension bracket | number | 0 | Case 5
Materials | 100256 | 16*5 copper cable | meter | 0 | Case 4
Lines | 100257 | 25*4 ABC cable | number | 0 | Case 5
Other | 100258 | Green lens left arrow | number | 0 | Case 7
Other | 100259 | yellow lens left arrow | number | 0 | Case 7
Other | 100260 | Main spare parts | number | 0 | Case 7
Materials | 100261 | Used 4*10mm copper cable | meter | 0 | Case 4
Other | 100262 | 6-eye triangle with 3m cable | number | 0 | Case 7
Other | 100263 | Ampere digital clock | number | 0 | Case 7
Other | 100264 | 100 Amp Bridge (Consolidator) | number | 0 | Case 7
Other | 100265 | 24V AC relay | number | 0 | Case 7
Other | 100266 | Transformer from 220 volts to 30-28-24 volts 5 amps | number | 0 | Case 7
Other | 100267 | headphone wire | number | 0 | Case 7
Other | 100268 | 12V 10A DC transformer | number | 0 | Case 7
Other | 100269 | fan switch | number | 0 | Case 7
Other | 100270 | fan condenser | number | 0 | Case 7
Other | 100271 | ceiling fan switch | number | 0 | Case 7
Other | 100272 | ceiling fan condenser | number | 0 | Case 7
Other | 100273 | Giphy External Breeze Box | number | 0 | Case 7
Other | 100274 | 2cm*2cm regular plastic drains | number | 0 | Case 7
Other | 100275 | Triple face only waterproof type original jump | number | 0 | Case 7
Other | 100276 | 4-pin flip-flop breaker | number | 0 | Case 7
Other | 100277 | ceiling noise | number | 0 | Case 7
Other | 100278 | External jumper | number | 0 | Case 7
Other | 100279 | Electric face | number | 0 | Case 7
Other | 100280 | Ain Dish 2 Exit | number | 0 | Case 7
Other | 100281 | 10 bar pressure gauge | number | 0 | Case 7
Other | 100282 | 1" plastic pipes | number | 0 | Case 7
Other | 100283 | GBS Geometric Street Mapping | number | 0 | Case 7
Other | 100284 | 3KVA UPS | number | 0 | Case 7
Other | 100285 | 1mm logo wire | roll | 0 | Case 7
Materials | 100286 | 25mm cable sole | number | 0 | Case 4
Panel | 100287 | We install a complete lighting control panel - used | number | 0 | Case 3
Other | 100288 | Overload mms22-32A | number | 0 | Case 7
Other | 100289 | Trans 25 kg | number | 0 | Case 7
Other | 100290 | CC50-200B 15HP Pump | number | 0 | Case 7
Materials | 100291 | 16mm ground wire | meter | 0 | Case 4
Other | 100292 | Full Mainboard - Prepaid | number | 0 | Case 7
Materials | 100293 | 65 amp contactor file | number | 0 | Case 4
Materials | 100294 | 80 amp contactor file | number | 0 | Case 4
Materials | 100295 | 100 Amp LS Contactor File | number | 0 | Case 4
Other | 100296 | External jump starter switch | number | 0 | Case 7
Other | 100297 | 4-cylinder external plastic dashboard | number | 0 | Case 7
Materials | 100298 | 2*1.5 power cable | meter | 0 | Case 2
Other | 100299 | Osram neon starter | number | 0 | Case 7
Other | 100300 | 36 Osram Neon Bulb | number | 0 | Case 7
Other | 100301 | 32W Neptune bulb | number | 0 | Case 7
Other | 100302 | Male + female plug | number | 0 | Case 7
Other | 100303 | 80 A relay | number | 0 | Case 7
Other | 100304 | 5m cable with male + female | number | 0 | Case 7
Other | 100305 | 24 volt contactor | number | 0 | Case 7
Other | 100306 | KRK second timer | number | 0 | Case 7
Other | 100307 | Plastic sewer, 2.5*2.5cm | meter | 0 | Case 7
Other | 100308 | Electrician | number | 0 | Case 7
Lines | 100309 | 4*25mm ABC cable | meter | 0 | Case 5
Other | 100310 | 4*95mm ABC type cable | meter | 0 | Case 7
Other | 100311 | Male plug | number | 0 | Case 7
Other | 100312 | External Breeze Jump | number | 0 | Case 7
Materials | 100313 | 3*2.5 mm rubber wire | meter | 0 | Case 2
Materials | 100314 | Green cable 3*2.5mm | meter | 0 | Case 2
Other | 100315 | Life Safety 40 Amp Phase and Loop | number | 0 | Case 7
Other | 100316 | 9 volt battery | number | 0 | Case 7
Materials | 100317 | 3 phase 100 amp automatic text | number | 0 | Case 4
Other | 100318 | 3 phase capacitor | number | 0 | Case 7
Other | 100319 | 3 phase 20 amp contactor | number | 0 | Case 7
Materials | 100320 | 3 phase 65 amp contactor | number | 0 | Case 4
Materials | 100321 | 400W sodium transistor | number | 0 | Case 2
Other | 100322 | Small RJ telephone plug | number | 0 | Case 7
Other | 100323 | External breeze type gloves | number | 0 | Case 7
Other | 100324 | plastic tie | tie | 0 | Case 7
Equipment | 100325 | Generator with 7 kW welding machine | number | 0 | Case 2
Other | 100326 | 95mm cable sole | number | 0 | Case 7
Other | 100327 | 50mm cable sole | number | 0 | Case 7
Lines | 100328 | Bakr cup with U letter | number | 0 | Case 5
Other | 100329 | Aman Hayat won and Noon | number | 0 | Case 7
Flashlight | 100330 | New 200W sodium spotlight | number | 0 | Case 1
Flashlight | 100331 | New 400W sodium spotlight | number | 0 | Case 1
Flashlight | 100332 | Used 250W sodium spotlight | number | 4 | Case 1
Flashlight | 100333 | Used 150W sodium spotlight | number | 0 | Case 1
Flashlight | 100334 | Used 100W LED spotlight | number | 0 | Case 1
Flashlight | 100335 | Used 50W LED spotlight | number | 0 | Case 1
Flashlight | 100336 | Used 200W sodium spotlight | number | 0 | Case 1
Flashlight | 100337 | Used 400W sodium spotlight | number | 0 | Case 1
Lantern | 100338 | New 125W sodium lantern | number | 0 | Case 1
Lantern | 100339 | New 150W sodium lantern | number | 0 | Case 1
Lantern | 100340 | New 250W sodium lantern | number | 0 | Case 1
Lantern | 100341 | New 400W sodium lantern | number | 0 | Case 1
Lantern | 100342 | 125W used sodium lantern | number | 0 | Case 1
Lantern | 100343 | Used sodium lantern 150 watts | number | 0 | Case 1
Lantern | 100344 | Used sodium lantern 250 watts | number | 0 | Case 1
Lantern | 100345 | Used 400W sodium lantern | number | 0 | Case 1
Lantern | 100346 | New 50W LED Lantern | number | 0 | Case 1
Lantern | 100347 | New 100W LED Lantern | number | 0 | Case 1
Lantern | 100348 | New 150W LED Lantern | number | 0 | Case 1
Lantern | 100349 | New 200W LED Lantern | number | 0 | Case 1
Lantern | 100350 | Used 50W LED lantern | number | 0 | Case 1
Lantern | 100351 | Used 100W LED Lantern | number | 0 | Case 1
Lantern | 100352 | Used 150W LED lantern | number | 0 | Case 1
Lantern | 100353 | Used 200W LED lantern | number | 0 | Case 1
Equipment | 100354 | Triple arm | number | 0 | Case 2
Equipment | 100355 | Quadruple arm | number | 0 | Case 2
Equipment | 100356 | wire cutters | number | 0 | Case 2
Equipment | 100357 | pliers | number | 0 | Case 2
Equipment | 100358 | cutter | number | 0 | Case 2
Equipment | 100359 | clamping pliers | number | 0 | Case 2
Equipment | 100360 | Disc stone | number | 0 | Case 2
Equipment | 100361 | lever | number | 0 | Case 2
Equipment | 100362 | helmet | number | 0 | Case 2
Materials | 100363 | 3*4 mm rubber wire | number | 0 | Case 4
Materials | 100364 | 3*6 mm rubber wire | number | 0 | Case 4
Materials | 100365 | 3*10 mm rubber wire | number | 0 | Case 4
Materials | 100366 | 3*16 mm rubber wire | number | 0 | Case 4
Lines | 100367 | 1*50mm ABC cable | meter | 0 | Case 5
Lines | 100368 | 2*50mm ABC cable | meter | 0 | Case 5
Danger | 100369 | iron lighting pole | number | 0 | Case 6
Danger | 100370 | Lantern | number | 0 | Case 6
Danger | 100371 | Flashlight | number | 0 | Case 6
Danger | 100372 | lighting lines | number | 0 | Case 6

## Sheet6 (hidden)
Total project value
Item | Business Statement | Total ($)
1 | road works | 862300
2 | Sanitation works | 142697.5
3 | Water works | 155020
4 | Electrical works | 105053.5
Total ($) |  | 1265071